## Slide 1: Spectral Imaging
Imaging Instrumentation

## Slide 4
Chart: 
y = F D{l} D{s} x
x [ NS x 1 ]
F [ NF x NS ]
Single “Pixel”
in Scene
Spectrum Filtered
by NF Filters
l [ NS x 1 ]
s [ NS x 1 ]
y [ NF x 1 ]
Spectrum Filtered
by Lens
Camera
Spectral Sensitivity
One value
(per pixel) per Filter

## Slide 5
z = A y
A [ 3 x NF ]
???
z [ 3 x 1 ]
L [ NS x 3 ]
b [ NS x 1 ]
Single Pixel (RGB)
Values
LCD Screen
RGB Filters
LCD
Backlight Spectrum
y [ NF x 1 ]
One value
(per pixel) per Filter
xout ≈ D{b} L A F D{l} D{s} x
xout = D{b} L z

## Slide 6
xout ≈ D{b} L A F D{l} D{s} x
I ≈ D{b} L A F D{l} D{s}
D-1{b} ≈ L A F D{l} D{s}
D-1{b} D-1{l} D-1{s} ≈ L A F
(LT L) -1LT D-1{b} D-1{l} D-1{s} ≈ A F
(LT L) -1LT D-1{b} D-1{l} D-1{s} FT (FFT ) -1 ≈ A
(LT L+D{e}) -1LT D-1{b} D-1{l} D-1{s} FT (FFT +D{e}) -1 ≈ A
(LT L+D{e}) -1LT D{1./(b.*l.*s+e)} FT (FFT +D{e}) -1 ≈ A
Notes: pseudo-inverse of L bc it’s not really square
regularization with D{E} – makes L and A invertible
epsilon is a touchy value, play with it